## mULTIPLE OUTPUT

## 0.5V / 0-10V / 1-6 KHZ

## Pressure Transducer

## AST4700

Process Connection: 1/4” NPT Male

Electrical Connection: Cable; 2ft, 4 ft, 6 ft and 10 ft.

Process Connection: 1/4” NPT Male

Electrical Connection: Mini DIN 43650

Process Connection: 1/4” NPT Male

Electrical Connection: DIN 43650A

Process Connection: 1/4” NPT Male

Electrical Connection: 6-Pin Bendix

Additional Components

Header: 1/8” NPT Male

Header: 1/4" BSPP Male

Header: 7/16”-20 UNF Male

| NORTH AMERICA | EUROPE | ASIA |
| --- | --- | --- |
| Measurement Specialties, a TE Connectivity Company 45738 Northport Loop West Fremont, CA 94538 Tel: 1-800-767-1888 Fax: 1-510-498-1578 Sales: customercare.frmt@te.com te.com/sensorsolutions Measurement Specialties, Inc., a TE Connectivity company. Measurement Specialties (MEAS), American Sensor Technologies (AST), TE Connectivity, TE Connectivity (logo) and EVERY CONNECTION COUNTS are trademarks. All other logos, products and/or company names referred to herein might be trademarks of their respective owners. The information given herein, including drawings, illustrations and schematics which are intended for illustration purposes only, is believed to be reliable. However, TE Connectivity makes no warranties as to its accuracy or completeness and disclaims any liability in connection with its use. TE Connectivity‘s obligations shall only be as set forth in TE Connectivity‘s Standard Terms and Conditions of Sale for this product and in no case will TE Connectivity be liable for any incidental, indirect or consequential damages arising out of the sale, resale, use or misuse of the product. Users of TE Connectivity products should make their own evaluation to determine the suitability of each such product for the specific application. © 2016 TE Connectivity Ltd. family of companies All Rights Reserved. | MEAS Switzerland Sarl, a TE Connectivity company Ch. Chapons-des-Prés 11 CH-2022 Bevaix Tel: +41 32 847 9550 Fax: +41 32 847 9569 customercare.bevx@te.com | Measurement Specialties (China), Ltd., a TE Connectivity Company No. 26 Langshan Road Shenzhen High-Tech Park (North) Nanshan District, Shenzhen 518057 China Tel: +86 755 3330 5088 Fax: +86 755 3330 5099 Sales: customercare.shzn@te.com |